# Subject: Honeywell RFI #2

Please clarify the warranty requirements of the 100 percent test of the fire alarm system.

Honeywell is concerned about a devices outside of the contracted Fire alarm scope of work.  If we have a device that does not operate, who is responsible for the repair and retest of the device?

FAA RESPONSE:

Contractor is not responsible for existing fire alarm device that is discovered by testing to be malfunctioning.  Contractor is responsible for new work installed that is tested to be malfunctioning.