## Mezz Misc
| Item number | Item excluded | Purchace item | 120 receptical count | Special voltage | Shop-air | Data drop | ESD drop | Air sample suction port | Water supply
Current State 503 Mezz
Misc Items
Fire cabinet | X1
Desl/printer/PC | X2 | [9 empty] | Relocate printer/PC?
Desl/scanner/PC | X3 | [9 empty] | Relocate scanner/PC?
Frezzer | X4 |  |  | X
Parts wash | X5 |  |  | X |  | X
Lath | X6 |  |  |  | 208
Rack | X7
Hyd press | X8 |  |  |  | 208
Kits rack 102 X 24 | X9
Desk 72 X 36 | X10
Desk 100 X 36 | X11
Vender machine | X12 |  |  | X |  |  | ?
Vender machine | X13 |  |  | X |  |  | ?
Frezzer | X14 |  |  | X
Fire cabinet | X15
PPE cabinet | X16
Concumables /PPE cabinet | X17
Coat rack | X18
Kitting rack 60 X 24 | X19
TM shelves | X20
Desk | X21 |  |  | ? |  |  | ?
Lap top storage cabinet | X22 |  |  | X |  |  | ?
Tool box 44 X 20 | X23
Tool box 31 X 20 | X24
Tool box 31 X 20 | X25
Large rack 72 X 50 | X26 | X | [8 empty] | Need to purchase 2 ea racks 36X72.
Large rack 72 X 50 | X27 | X | [8 empty] | Need to purchase 2 ea racks 36X72.
Large rack 72 X 50 | X28 | X | [8 empty] | Need to purchase 2 ea racks 36X72.
Large rack 72 X 50 | X29 | X | [8 empty] | Need to purchase 2 ea racks 36X72.
Small bins | X30
Rack 78 X 30 | X31
Portable eye wash | E1
Eye wash station | E2 | [8 empty] | X
Eye wash station | E3 | [8 empty] | X
Portable eye wash | E4
Note: Eye wash stations may need drain.
Need 8 ea 72X36 racks to replace X26-29

## Mezz VIDS
| Item number | Excluded From Layout | Items to vending machine | Items to VLM | Tool VID
Current State 503 Mezz
VID Cabinets
Vid 30 X 28 | V1 | X | X
Vid 30 X 28 | V2 | X | X
Vid 60 X 28 | V3 | X | X
Vid 45 X 28 | V4 | X | X
Vid 30 X 28 | V5 | X | X
Vid 30 X 28 | V6 | X | X
Vid 30 X 28 | V7 | X | X
Vid 30 X 28 | V8 | X | X
Vid 45 X 28 | V9 | X | X
Vid 60 X 28 | V10 | X | X
Vid 30 X 28 | V11 | X | X
Vid 30 X 28 | V12 | X | X
Vid 30 X 28 | V13 | X | X
Vid 30 X 28 | V14 | X | X
Vid 30 X 28 | V15 | X | X
Vid 60 X 28 | V16 | X | X
Vid 60 X 28 | V17 | X | X
Vid 30 X 28 | V18 | X | X
Vid 30 X 28 | V19 | X | X
Vid 30 X 28 | V20 | X | X
Vid 30 X 28 | V21 | X | X
Vid 45 X 28 | V22 | X | X
Vid 30 X 28 | V23 | X | X
Vid 30 X 28 | V24 | X | X
Vid 30 X 28 | V25 | X | X
Vid 30 X 28 | V26 | X | X
Vid 30 X 28 | V27 | X | X
Vid 30 X 28 | V28 | X | X
Vid 30 X 28 | V29 | X | X
Vid 30 X 28 | V30 | X | X
Vid 60 X 28 | V31 | X | X
Vid 60 X 28 | V32 | X | X
Vid 60 X 28 | V33 |  |  |  | X | Used at Shop LA
Vid 60 X 28 | V34 |  |  |  | X | Used at Shop LA
Note: Items that don’t fit into a vending machine overflow to VLM.

## MG
MG Shop (Current) | Item number | Item excluded | 120 VAC | Special voltage | Shop-air | Data drop | ESD drop | Air sample suction port | Special Overhead Lightimg
Day head count: (8)
Swing head count: (?)
Night head count: (0)
Superintendent: Steve Melnick
Supervisor: Elgin Rose
Chief: Tara Clough
Note: *Under bench tool box
Break down bench 72X36 | 1 |  | X | [5 empty] | ?
Break down table 72X36 | 2 |  | X |  |  | X |  |  | ?
Break down bench 72X36 | 3 |  | X | [5 empty] | ?
Arbor press | 4 | X | [7 empty] | Breakdown technician said he could use another in the shop & could be excluded.
Parts wash | 5 |  | X |  | X |  |  |  | ? | Blowdown wand and connection to machine.
Drill press table 30X60 | 6 |  | X |  | X |  |  |  | ? | Blowdown wand.
Lathe | 7 |  | X |  | X |  |  |  | ? | Blowdown wand.
55 gal barrel | 8
HCL1753 MXPDCAD VID 28X28 | 9
Fire cabinet | 10
Wheeled parts bin | 11 | [8 empty] | Reduce footprint: combine with MG17; try to put small bins at bench with overhead accessories.
Tubing netting rack | 12
Grinding booth | 13 |  | X
Bench 60X30 | 14 |  | X |  | X | X |  |  | ?
Bench 60X30 | 15 |  | X |  | X | X |  |  | ?
Vidmar MXDPCAD1 30X28 | 16
Wheeled parts bin | 17 | [8 empty] | Reduce footprint: combine with MG11; try to put small bins at bench with overhead accessories.
VID 30X28 | 18
VID 30X28 | 19
Bench 72X36 | 20 |  | X |  | X | X |  |  | ?
Bench 60X30 | 21 |  | X |  | X | X |  |  | ?
Vise on pedestal | 22
Bench 60X30 | 23 |  | X |  | X | X |  |  | ? | Replace with 72X30 w/shelving for PC and small bins. 60X30 is too small; no room for work piece and PC/monitor
Vise on pedestal | 24
Bench 60X30 | 25 |  | X |  | X | X |  |  | ? | Replace with 72X30 w/shelving for PC and small bins. 60X30 is too small; no room for work piece and PC/monitor
Bench 60X30 | 26 |  | X |  | X | X |  |  | ? | Replace with 72X30 w/shelving for PC and small bins. 60X30 is too small; no room for work piece and PC/monitor
Arbor press on large pedestal | 27
Wheeled assembley cart | 28 | X | [7 empty] | Postioned behind desk & used to set PC on; no room for work and PC. Get 72X30 so that PC fits on desk with work peice.
Wheeled parts bin | 29 | X | [7 empty] | Replace 60X30 with 72X30; use bench shelf system to hold small parts bins.
Wheeled assembley cart | 30 | X | [7 empty] | Postioned behind desk & used to set PC on; no room for work and PC. Get 72X30 so that PC fits on desk with work peice.
Wheeled parts bin | 31 | X | [7 empty] | Replace 60X30 with 72X30; use bench shelf system to hold small parts bins.
Wheeled parts cart | 32 | X | [7 empty] | Postioned behind desk & used to set PC on; no room for work and PC. Get 72X30 so that PC fits on desk with work peice.
Bench 30X60 | 33 |  | X |  | X | X |  |  | ?
LRG vise | 34
Sales bench |  |  | ? |  | ? | ?
Shop Item Breakdown | Current | Future | Purchase | Add
Current data drops (3 cable) | 10 | 10 | 0 | 0
PC | 8 | 9 |  | 1
Under bench tool boxes | 12 | 12 | 0 | 0
Small garbage can
Table vise
Storage/kit racks | ? | ? | ? | ? | Are there staging racks?
Benches (30X72) | 1 | 4 | 3 | 3 | MG23, 25, 26 are too small replaced with 30X72
Benches (36X72) | 1 | 1 | 0 | 0
Benches (30X60) | 10 | 7 | 0 | -3 | Includes 2ea 60X33 and 1ea drill press table.Exclude MG23, 25, 26.
Sit down bench | 7 | 7 | 0 | 0
Desks | 0 | 0 | 0 | 0
TO/Book Shelf | ? | ? | ? | ?
Fixture/solvent Bench | 3 | 3 | 0 | 0 | Parts wash/drill press/Lath.
Wheeled tool box | ? | ? | ? | ?
Carts/fixture carts | 13 | 13 | 0 | 0 | Includes kit carts with shawdow foam & tub carts.
Arbor press | 5 | 4 | 0 | -1 | Arbor press next to parts wash not needed.
Fire cabinet | 1 | 1 | 0 | 0
Consumables cabinet | 0 | 0 | 0 | 0 | At underbench tool boxes?
File cabinet | ? | ? | ? | ?
Personal Cabinet | 0 | 0 | 0 | 0 | At underbench tool boxes?
Corrosive cabinet | 0 | 0 | 0 | 0 | At underbench tool boxes?
Printer | 1 | 1 | 0 | 0
Shredder | ? | ? | ? | ?
Bench shop-air receptacle | 7 | 11 | 0 | 4 | Added to 3 benches and the drill press.
Bench 120VAC recepticle | 15 | 15 | 0 | 0 | Also all 11 benches & 3 machines.
Notes:
Circuit breaker Requirements?
Additional Switch capacity?
Special voltages? | NO
Sales bench PC/Printer?

## JC
JC PRCA Shop (Current) | Item number | Item excluded | 120 VAC | Special voltage | Shop-air | Data drop | ESD drop | Air sample suction port | Overhead Light with 120 plugs | Bench leg 120 v plugs
Day head count: (?)
Swing head count: (?)
Night head count: (0)
Superintendent: Tom Reinhold
Supervisor: David Grenhaigh
Chief: Tara Clough
Note: *Under bench tool box
Rack 76" X 36" | 1
Lap Top Storage Cabinet 28"X26" | 2 | X | [8 empty] | Eliminate?
Tool Box 20" X 32" | 3
Tool Box 20" X 32" | 4
Cart 18" X 39 | 5
Cart 18" X 39 | 6
Portable Eye Wash | 7
Rack 102" X 36" | 8
Vidmar 30" X 28" covers/ship plates | 9
TO Cabinet 29" X29" | 10
Cabinet 30" X 28" | 11 | X | [8 empty] | VID items go into vending machines or VLM
Tools HLNC0092 30"X21.5" | 12 | X
Tools HLNC0178 30"X28" | 13 | X
Tools/Kits HLNC0178 30"X28" | 14 | X
Kits cabinets #6 60" X 28" | 15 | X
Oil-rings BSL 858 30"X28" | 16 | X
Seals/screws BSL 858 30"X28" | 17 | X
Seals/gaskets BSL 858 30"X28" | 18 | X
Kits Cabinet #5 60"X28" | 19 | X
Electronics MNCC9E Cabinet #4 60"X28" | 20 | X
Kits BSL 858 30" X 28" | 21 | X
Kits BSL 858 30" X 28" | 22 | X | [8 empty] | VID items go into vending machines or VLM
Rack 60" X 24" | 23
Workbench 30"X60" | 24 | [7 empty] | X | X
Workbench 30"X60" | 25 | [8 empty] | X
Workbench 30"X60" | 26 | [7 empty] | X | X
Workbench 30"X60" | 27 | [8 empty] | X
Workbench 30"X60" | 28 | [7 empty] | X | X
Workbench 30"X60" | 29 | [8 empty] | X
Workbench 30"X60" | 30 | [7 empty] | X | X
Workbench 30"X60" | 31 | [8 empty] | X
Rack 48" X 24" | 32
Workbench 30"X60" | 33 | [7 empty] | X | X
Workbench 30"X60" | 34 | [8 empty] | X
Workbench 30"X60" | 35 | [7 empty] | X | X
Workbench 30"X60" | 36 | [8 empty] | X
Workbench 30"X60" | 37 | [7 empty] | X | X
Workbench 30"X60" | 38 | [7 empty] | X | X
Workbench 30"X60" | 39 | [7 empty] | X | X
Workbench 30"X60" | 40 | [8 empty] | X
Rack 60" X 24" | 41
Workbench 30"X60" | 42 | [7 empty] | X | X
Workbench 30"X60" | 43 |  | X | [6 empty] | X
Workbench 30"X60" | 44
Workbench 30"X60" | 45 |  | X
Workbench 30"X60" | 46 |  | X | [6 empty] | X
Rack 60" X 24" | 47
Workbench 30"X60" | 48 | [7 empty] | X | X
Workbench 30"X60" | 49 | [7 empty] | X | X
Workbench 30"X60" | 50 | [7 empty] | X | X
Workbench 30"X60" | 51 | [7 empty] | X | X
Workbench 30"X60" | 52 | [7 empty] | X | X
Workbench 30"X60" | 53 | [7 empty] | X | X
Workbench 30"X60" | 54 | [7 empty] | X | X
Workbench 30"X60" | 55 | [7 empty] | X | X
Workbench 30"X60" | 56 |  | X
Workbench 30"X72" | 57 |  | X | [5 empty] | X
Workbench 30"X72" | 58 |  | X
Workbench 30"X60" | 59 | [7 empty] | X | X
Workbench 30"X72" | 60 | [7 empty] | X | X
Cart 45" X 26 | 61
Cart 45" X 26 | 62
Lathe table 61" X 30" | 63 |  | X
Flammable cabinet 43" X 18" | 64
Frezzer 29.5" X 29.5" | 65 |  | ?
Frezzer table 43" X 24.5" | 66 |  | ?
Filing cabinet | 67
Arbor press | 68
Sales Bench
Shop Item Breakdown | Current | Future | Purchase | Add
Current data drops (3 cable) | 21 | ?
PC | 15 | ?
Under bench tool boxes | 17 | 17 | 0 | 0
Small garbage can | 11 | 11 | 0 | 0
Table vise | 8 | 8 | 0 | 0
Storage/kit racks | 6 | 6 | 0 | 0
Benches (30X72) | 2 | 2 | 0 | 0
Benches (30X60) | 30 | 30 | 0 | 0
Sit down bench | 27 | 27 | 0 | 0
Frezzer | 2 | 2 | 0 | 0
TO/Book Shelf | 1 | 1 | 0 | 0
Fixture/sovent Bench | 1 | 1 | 0 | 0 | Lath table 30X60
Wheeled tool box | 5 | 5 | 0 | 0
Carts | 7 | ?
Hi-Pot | 1 | 1 | 0 | 0
Arbor press | 1 | 1 | 0 | 0
Fire cabinet | 1 | 1 | 0 | 0
Consumables cabinet | 2 | 2 | 0 | 0
File cabinet | 1 | 1 | 0 | 0
Personal Cabinet | 1 | 1 | 0 | 0
Corrosive cabinet | ?
Printer | 2 | 2 | 0 | 0
Shredder | 1 | 1 | 0 | 0
Bench air receptacle | 12 | ?
Bench 120 vac electrical | 33 | ?
Notes:
Circuit breaker Requirements?
Additional Switch capacity?
Special voltages?
Sales bench PC/Printer?

## LA
LA Shop (Current) | Item number | Item excluded | 120 VAC | Special voltage | Shop-air | Data drop | ESD drop | Air sample suction port
Day head count: (22)
Swing head count: (1)
Night head count: (0)
Superintendent: Tom Reinhold
Supervisor: Fred Murray
Chief: Tara Clough
Note: *Under bench tool box
Fixture bench 30X60 | 1
Bench* 30X60 | 2 | [7 empty] | Previously excluded
Hyd test -stand | 3
Rack | 4 | X
Bench PC * 30X72 | 5
Bench PC * 30X72 | 6
Bench PC* 30X72 | 7
Bench PC * 30X72 | 8
Bench PC * 30X72 | 9
Bench PC * 30X72 | 10
Bench* 30X72 | 11
Spring tester LVDT bench 30X72 | 12
Cylinder Jigs Bench 30X72 | 13
Microscope bench 30X72 | 14
Fixture DC mag Bench | 15
Piston cylinder jig Bench | 16
Bench PC * 30X72 | 17
Bench PC * 30X72 | 18
Bench PC * 30X72 | 19
Bench PC * 30X72 | 20
Bench PC * 30X72 | 21
Bench PC * 30X72 | 22
Bench PC * 30X72 | 23
Parts/wire rack | 24
Bench PC * 30X72 | 25
Bench PC * 30X72 | 26
Bench PC * 30X72 | 27 | [7 empty] | Previously excluded
Bench PC * 30X72 | 28
Bench PC * 30X72 | 29
Bench * 36X72 | 30
Table 30X60 | 31
Outgoing Rack 30X72 | 32 | X
Bench 30X72 | 33 | X | [6 empty] | Available
Hi pot bench PC* 30X72 | 34 | X | [6 empty] | Relocated to central area
ESD & solder bench 30X72 | 35 | X | [6 empty] | Relocated to central area
Bench 30X72 | 36 | [7 empty] | Fire cabinet relocated to central area LU30
Tool Vid | V33
Tool Vid | V34
Sales bench (PC/power ?) | [8 empty] | Find 30X60 bench excluded from another area
Shop Item Breakdown | Current | Future | Purchase | ADD
Current data drops (3 cable) | 17 | 22 |  | 5
PC | 19 | 22 |  | 3
Under bench tool boxes | 21 | 20 | ? | ?
Small garbage can | 15
Table vise | 16
Storage/kit racks | 4 | 2 | 0 | -2 | 53% SF reduction X shelf count
Benches (30X72) | 28 | 25 | 0 | -3 | 2 re-located to central location (hi-pot/solder)
Benches (30X60) | 2 | 2 | 0 | 0 | [5 empty] | 0
Desk (36X72) | 1 | 1 | 0 | 0
Table(30x60) | 1 | 1 | 0 | 0
Sit-down bench | 22 | 22 | 0 | 0 | 0% reduction
TO/Book Shelf | 0
Fixture Bench/stand | 10 | 10 | 0 | 0 | 2 re-located to central location (hi-pot/solder)
Wheeled tool box | 4
Carts | 16
DC mag | 1
Microscope/Electri-scope | 1
Arbor press | 2
Fire cabinet | 1
Consumables cabinet | 0
File cabinet | 0
Personal Cabinet | 0
Corrosive cabinet | 0
Printers | 0
Shredder | 0
Bench air receptacle | 33
Bench 120 vac electrical | 31
Notes:
Circuit breaker Requirements?
Additional IT Switch capacity?
Special voltages?
Sales bench PC/Printer?

## LH
LH Shop (Current) | Item number | Item excluded | 120 VAC | Special voltage | Shop-air | Data drop | ESD drop | Air sample suction port
Day head count: (?)
Swing head count: (?)
Night head count: (0)
Superintendent: Steve Melnick
Supervisor: Brent Sellers
Chief: Tara Clough
Note: *Under bench tool box
SS table top drain bench 30X72 | 1
Bench 30X60 | 2 | X | [6 empty] | Available
Bench *30X60 | 3
Lab oven bench | 4
Lathe grinder bench* 30X60 | 5
Bench* 30X60 | 6 | X | [6 empty] | Available
Bench PC 30X60 | 7
Bin bench 30X60 | 8 | X | [6 empty] | Available
Bench* 30X60 | 9
Bench PC 30X60 | 10
Lathe bench* 30X60 | 11
Lathe bench* 30X60 | 12
Bench* 30X60 | 13
Bench PC 30X60 | 14
Bench*30X60 | 15
Tool VID cabinet 28X60 | 16
Tool VID cabinet 28X60 | 17
Tool VID cabinet 28X60 | 18
Parts rack 78" X 30" | 19 | X | [6 empty] | Available
Fixture (BIB O/W/F) bench 30X72 | 20
Part holder fixture bench PC 30X72 | 21
Microscope bench 30X72 | 22
Bench* 30X72 | 23
Solvent can bench 30X60 | 24
Electric scope bench 30X60 | 25
Bench 30X60 | 26
Bench 30X60 | 27
Bench* PC 30X60 | 28
Solvent & hand hyp-pump bench 30X60 | 29
Bench* 30X60 | 30
Bench 30X60 | 31
Bench 30X60 | 32
Bench 30X60 | 33 | X | [6 empty] | Available
Bench PC 30X60 | 34
Bench 30X60 | 35
Bench 30X60 | 36
Bench PC 30X60 | 37
Bench PC 30X60 | 38 | X | [6 empty] | Available
Bench* 30X60 | 39
Bench*30X60 | 40 | [7 empty] | Previously excluded
Bench*30X60 | 41 | [7 empty] | Previously excluded
Bench 30X60 | 42 | X | [6 empty] | Available
Bench corrosive cabinet 30X60 | 43 | X | [6 empty] | Available *Corrosives cabinet relocated to central area (LU 30)
Parts rack 139" X 36" | 44
Fire Cabinet | 45
TO & Book shelf | 46
Table 30X 60 | 47 | X | [6 empty] | Available
Wheeled tool box for LH? | X23
Wheeled tool box for LH? | X24
Wheeled tool box for LH? | X25
Sales Bench | ?
Shop Item Breakdown | Current | Future | Purchase | Add
Current data drops (3 cable) | 15 | 21 |  | 6 | Add based off future sit down benches
PC | 8 | 21 |  | 13 | Add based off future sit down benches
Under bench tool boxes | 14 | 12 | ? | ?
Small garbage can | 6
Table vise | 12
Storage/kit racks | 3 | 1 | 0 | -2 | 51% SF reduction X shelf count.
Benches (30X72) | 5 | 5 | 0 | 0 | Includes SS hyd drain table
Benches (30X60) | 34 | 25 | 0 | -9
Table (30X60) | 1 | 0 | 0 | -1
Sit-down bench | 28 | 21 | 0 | -7 | 25% reduction
Misc Table 30X60 | 1 | 0 | 0 | -1
TO/Book Shelf | 1 | 1 | 0 | 0
Fixture Bench/stand | 11 | 11 | 0 | 0
Wheeled tool box | 9
Carts | 3
DC mag | 0
Microscope/Electri-scope | 2
Arbor press | 2
Fire cabinet | 1
Consumables cabinet | 0
File cabinet | 0
Personal Cabinet | 0
Corrosive cabinet | 1
Printer | 0
Shredder | 0
Bench air receptacle | 39
Bench 120 vac electrical | 38
Notes:
Circuit breaker Requirements?
Additional IT Switch capacity?
Special voltages?
Sales bench PC/Printer?

## LU
LU Shop (Current) | Item number | Item excluded | 120 VAC | Special voltage | Shop-air | Data drop | ESD drop | Air sample suction port
Day head count: (10)
Swing head count: (4)
Night head count: (0)
Superintendent: Steve Melnick
Supervisor: Shad Remkes
Chief: Tara Clough
Note: *Under bench tool box
Bench 30X60 | 1
Bench PC* 30X60 | 2
Bench PC* 30X60 | 3
Solvent-can bench* 30X60 | 4
Bench PC* 30X60 | 5
Solvent-can bench 30X60 | 6
Bench PC* 30X60 | 7
Solvent Bench* 30X60 | 8
Wheeled large tool box 57"X29" | 9
Cleaning station Solvent ? | 10
Bench 30X60 | 11
Bench* 30X60 | 12
Bench PC* 30X60 | 13
Parts rack 88"X25" | 14
Bench* 30X60 | 15
Bench* 30X60 | 16
Bench PC* 30X60 | 17
Desk 60 X 36 | 18 | X
Bench PC* 30X72 | 19
Bench* 30X72 | 20
Bearing test fixture bench 30X72 | 21
Desk 36 X 64 PC | 22 | X
Bench 30X60 | 23
Bench* 30X60 | 24
Bench PC* 30X60 | 25 | X
Bench 30X60 | 26 | X
Bench 30X60 | 27
Bench PC* 30X60 | 28
Bench 30X60 | 29 | X
Fire & corrosive Bench* 30X60 | 30 | X | [6 empty] | A36 fire & H43 corrosive cabinet. Spring tester now at LU15.
De-magnetizer bench* 30X60 | 31 | X
Bench* 30X60 | 32
Locked parts cage | 33 | X
Rack 78 X 30 | 34 | X
Filing cabinet 28 X 17 | 35
Tool VID 28X60 | 36
Parts table 102" X 36" | 37 | X
Desk 38 X 60 PC | 38 | X
Parts table 102" X 36" | 39 | X
Bench* 30X72 | 40 | X
Desk 30 X 53 PC | 41 | X
Bench 30X60 | 42 | X
Bench PC* 30X60 | 43 | X
Bench 30 X 72 | 44
Bench PC* 30 X 72 | 45
Bench PC* 30 X 72 | 46
Bench 30 X 72 | 47
Spring tester Bench 30 X 72 | 48 | X | [6 empty] | Located to central location
Spring tester Bench 30 X 72* | 49 | X | [6 empty] | Located to central location
Bench 30 X 72* | 50 | X | [6 empty] | Available
Shredder/Printer Bench 30 X 72* | 51 | X | [6 empty] | Located to central location (has U5 printer and U51 shredder)
Sales Bench
Shop Item Breakdown | Current | Future | Purchase | Add
Current data drops (3 cable) | 18 | 21 |  | 3
PC | 15 | 21 |  | 6
Under bench tool boxes | 26 | 19 | ? | ?
Small garbage can | 7
Table vise | 10
Storage/kit racks | 4 | 1 | 0 | -3 | 83% SF reduction X shelf count
Benches (30X72) | 12 | 8 | 0 | -4 | All re-located to central location except LU50 (available)
Benches (30X60) | 27 | 19 | 0 | -8 | LU 25 used at LA shop all others available
Sit down bench | 28 | 21 | 0 | -7 | 25% reduction
Desks | 6 | 0 | 0 | -6 | 100% reduction
TO/Book Shelf | 0 | 0 | 0 | 0
Fixture/sovent Bench | 10 | 10 | 0 | 0 | 4 re-located to central location
Wheeled tool box | 1
Carts | 8
DC mag | 1 | 1 | 0 | 0
Spring tester | 5 | 5 | 0 | 0 | Some re-located at central location
Microscope/Electri-scope | 0
Arbor press | 1
Fire cabinet | 0
Consumables cabinet | 5
File cabinet | 7
Personal Cabinet | 1
Corrosive cabinet | 0
Printer | 3
Shredder | 1
Bench air receptacle | 33
Bench 120 vac electrical | 38
Notes:
Circuit breaker Requirements?
Additional IT Switch capacity?
Special voltages?
Sales bench PC/Printer?