## EXTERIOR
VERTICAL SHOP BUILDER INPUT SHEET - EXTERIOR
FACILITY TITLE: _______________________________________ | [5 empty] | WO #:
FACILITY #: |  | FLOOR #: | ASSESSOR: |  |  |  |  | ASSESSED GRADE
EXTERIOR AREA | [6 empty] | GRN +0- | AMB +0- | RED +0-
B2010 - EXTERIOR WALLS
B201001 - Exterior Closure (Gen, Other, Unk, Adobe, Brick Veneer w/CMU Backup, Brick Veneer w/Stud Backup,
Cementitious Boards/Panels, CIP Concrete, Concrete Block, EIFS, Fiber Cement Siding, Glass Block, Gypsum,
Masonry Cavity, Masonry Composite, Metal Panel, Metal Siding, Precast Curtain Walls, Concrete Panel
Masonite, (Ribbed/ Tilt Up), Stucco, Wood, Wood Cladding w/Stud Backup, Stone Veneer w/CMU Backup)
Component Subtype:_________________________ Built/Renewed:_____________
Painted (Y/N):_______Paint Type _________Year Painted: _____________Location:__________________
Comments (Backup? Insulation? Siding? Paneling? Section Name?):
______________________________________________________________________________________________
B201005 - Exterior Louvers & Screens (Gen, Other, Unk, Railing, Ladder)
Component Subtype:_________________________ Built/Renewed:_____________
Location:______________________________________________
Comments: ___________________________________________________________________________
Component Subtype:_________________________ Built/Renewed:_____________
Location:______________________________________________
Comments: ___________________________________________________________________________
B201006 - Balcony Walls & Handrails (Gen, Other, Unk, Railing, Ladder)
Component Subtype:_________________________ LF: _______________Year Built/Renewed:_____________
Location:______________________________________________
Comments: ___________________________________________________________________________
Component Subtype:_________________________ LF: _______________Year Built/Renewed:_____________
Location:______________________________________________
Comments: ___________________________________________________________________________
B201090 - Other Exterior Walls (Gen, Other, Unk, Concrete Blast Walls, Earthen Berms)
Component Subtype:_________________________ SF: _______________Year Built/Renewed:_____________
Location:______________________________________________
Comments: ___________________________________________________________________________
Component Subtype:_________________________ Built/Renewed:_____________
Location:______________________________________________
Comments: ___________________________________________________________________________
B2020 - EXTERIOR WINDOWS
B202001 - Windows (Gen, Other, Unk, Alum, Steel, Vinyl Clad, Wood)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Sliding, Single/Double Hung?, Wire Grid?, Hopper?, Fixed?, Awning?, Casement?):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Sliding, Single/Double Hung?, Wire Grid?, Hopper?, Fixed?, Awning?, Casement?):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Sliding, Single/Double Hung?, Wire Grid?, Hopper?, Fixed?, Awning?, Casement?):
______________________________________________________________________________________________
B202002 - Storefronts (Gen, Other, Unk)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments: ___________________________________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments: ___________________________________________________________________________
B202003 - Curtain Walls (Gen, Other, Unk)
Type: _____________Year Built/Renewed: _______________Quantity (SF):_______________Painted (Y/N):_____
Comments: ___________________________________________________________________________
Type: _____________Year Built/Renewed: ______________Quantity (SF):_______________Painted (Y/N):_____
Comments: ___________________________________________________________________________
B2030 - EXTERIOR DOORS
B203001 - Solid Doors (Gen, Other, Unk, Alum, Steel, Wood, w/Lite)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Single/Double?, Louver Door?):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Single/Double?, Louver Door?):
______________________________________________________________________________________________
B203002 - Glazed Doors (Gen, Other, Unk)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Sliding?, Single/Double?, Transoms/Mullions?):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Sliding?, Single/Double?, Transoms/Mullions?):
______________________________________________________________________________________________
B203003 - Revolving Doors (Gen, Other, Unk, Elec, Man)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Transoms/Mullions?):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Transoms/Mullions?):
______________________________________________________________________________________________
B203004 - Overhead and Roll-Up Doors (Gen, Other, Unk, Elec, Man, Alum/Fiberglass, Shutter, Steel Rolling,
Steel Sectional, Wood)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Size (SF):______________________
Comments (Sliding?, Single/Double?, Transoms?):__________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Size (SF):______________________
Comments (Sliding?, Single/Double?, Transoms?):__________________________________________________
B203005 - Hangar Doors (Gen, Other, Unk, Steel, Bi-Fold, Sliding, Vertical, Wood, Steel Sliding)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Single/Double?):__________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Single/Double?):_____________________________________________________________________
B203006 - Blast Resistant Doors (Gen, Other, Unk)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Single/Double?, Section Name):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Single/Double?, Section Name):
______________________________________________________________________________________________
B203007 - Gates (General, Other, Unknown)
Type: _______________Year Built/Renewed: _______________Quantity: _______________Painted (Y/N):_____
Comments (Single/Double?, Section Name):
______________________________________________________________________________________________
B203090 - Other Ext Specialty Doors (Gen, Other, Unk, Emergency Egress)
Type: _______________Year Built/Renewed: _____________Quantity: _________Painted/Coated (Y/N):_____
Comments (Sliding?, Single/Double?, Imbedded Personal Door?, Section Name):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _____________Quantity: _________Painted/Coated (Y/N):_____
Comments (Sliding?, Single/Double?, Imbedded Personal Door?, Section Name):
______________________________________________________________________________________________
See Exterior Enclosure guidance for common wall/window/door distresses and AFCEC recommended correlating DCRs and creating Section Names
COMMENTS
Optional Overhead/Roll-Up Door Inspection Sheet:
Roll-up door Inspection Comments: |  |  | Overhead/Sliding Door Comments:
Chains |  |  | Panels
Door Curtain |  |  | Rollers
End Plate Bearing |  |  | Springs/Cables
Limit Switch Function |  |  | Shaft Bearings
Spring |  |  | Limit Switch Function.
Fire Door Mechanics |  |  | Safety Edge
Door Guides |  |  | Weather Stripping
Drum Cover |  |  | Tracks
Mounting Bolts |  |  | Hinges
Brake Function |  |  | Spring Shaft
Safety Edge |  |  | Cable Drums
Weather Stripping |  |  | Break Function
Fire Door
OVERHEAD/ROLL-UP DOOR SPECIFICATIONS
FACILITY TITLE: _______________________________________
FACILITY #: |  |  | DATE:
EXTERIOR AREA |  |  | ASSESSOR:
Door Information: |  |  | Operator Information:
Make |  |  | Operator Make
Model # |  |  | Operator Model
Door Shaft Size |  |  | Operator Serial #
Door Opening |  |  | Volt
Fire Door |  |  | MFG date
Door Mounting Surface |  |  | Date Installed
Operator Mounting |  |  | Phase
Door Quantity |  |  | Horse Power
Serial # |  |  | Ft. Lbs.
Door type |  |  | Notes: |  | YES |  |  |  | YES
Insulated |  |  |  | Service DSW |  |  | Replacement
Winding bars
What Hand Operation
Operator Type
Roller size
Safety Edge |  |  | Cable Drums
Weather Stripping |  |  | Break Function
Fire Door
OVERHEAD/ROLL-UP DOOR SPECIFICATIONS
FACILITY TITLE: _______________________________________
FACILITY #: |  |  | DATE:
EXTERIOR AREA |  |  | ASSESSOR:
Door Information: |  |  | Operator Information:
Make |  |  | Operator Make
Model # |  |  | Operator Model
Door Shaft Size |  |  | Operator Serial #
Door Opening |  |  | Volt
Fire Door |  |  | MFG date
Door Mounting Surface |  |  | Date Installed
Operator Mounting |  |  | Phase
Door Quantity |  |  | Horse Power
Serial # |  |  | Ft. Lbs.
Door type |  |  | Notes: |  | YES |  |  |  | YES
Insulated |  |  |  | Service DSW |  |  | Replacement
Winding bars
What Hand Operation
Operator Type
Roller size

## INTERIOR
VERTICAL SHOP BUILDER INPUT SHEET - INTERIOR
FACILITY TITLE: _______________________________________ |  |  |  | WO #:
FACILITY #: |  | FLOOR #: | ASSESSOR: |  |  | ASSESSED GRADE
INTERIOR AREA |  |  |  |  | GRN +0- | AMB +0- | RED +0-
C1010 - PARTITIONS
C101001 - Fixed Partitions (Gen, Other, Unk, Security Cage/Wire Mesh, Brick, Concrete Block, Drywall w/Stud Frame, Glass Block, Glass Curtain Wall, Glazed Tile, Plaster w/Stud Frame
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
C101003 - Retractable Partitions (Gen, Other, Unk)- OPTIONAL
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
C101004 - Interior Guardrails/Screens (Gen, Other, Unk, Rail, Wall Screen) - OPTIONAL
Type: __________Size(SF):_________Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
Type: __________Size(SF):_________Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
C101005 - Interior Windows (Gen, Other, Unk, Metal Rollup/Coil Grille)
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments(Frame?, Material?, Fixed?, Hopper?, Security Window?, Sliding?, Single/Double Hung?):
______________________________________________________________________________________________
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments(Frame?, Material?, Fixed?, Hopper?, Security Window?, Sliding?, Single/Double Hung?):
______________________________________________________________________________________________
C101006 - Glazed Partitions and Storefronts (Gen, Other, Unk)
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
C101090 - Other Partitions (Gen, Other, Unk) - OPTIONAL
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
Type: _______________Year Built/Renewed: _____________Size(SF):_________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments:___________________________________________________________________________________
C1020 - INTERIOR DOORS
C102001 - Standard Interior Doors (Gen, Other, Unk, Metal Door, Wood w/Metal Frame, Wood w/Wood Frame)
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments (single/double, bi-fold, dutch?, louvered?):
______________________________________________________________________________________________
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments (single/double, bi-fold, dutch?, louvered?):
______________________________________________________________________________________________
C102002 - Glazed Interior Doors (Gen Other, Unk)
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments:___________________________________________________________________________________
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments:___________________________________________________________________________________
C102003 - Fire Doors (Gen, Other, Unk, Rollup, Sliding, Metal, Wood, Swinging)
Type: _______________Year Built/Renewed: _____________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments(Is there fire rated label on inside edge?, Magnetic "hold-open"? ):
______________________________________________________________________________________________
Type: _______________Year Built/Renewed: _____________Painted/Coated (Y/N):_____
Location:______________Quantity:____________Floor:______________
Comments(Is there fire rated label on inside edge?, Magnetic "hold-open"? ):
______________________________________________________________________________________________
C102004 - Sliding & Folding Doors (Gen, Other, Unk, Rolling Steel, Electric, Manual, Sliding, Finish)
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments:___________________________________________________________________________________
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments:___________________________________________________________________________________
C102005 - Interior Overhead Doors (Gen, Other, Unk, Metal, Wood)
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments (single/double):_____________________________________________________________________
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments (single/double):_____________________________________________________________________
C102090 - Interior Specialty Doors (Gen, Other, Unk, Cold Storage, Rollup Grille, Aluminum, Vault, Electric, Manual, Finish)
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments (single/double):_____________________________________________________________________
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments (single/double):_____________________________________________________________________
C102091 - Other Interior Personnel Doors (Gen, Other, Unk, Cipher Lock)
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments:___________________________________________________________________________________
Type: __________Year Built/Renewed:___________Location:______________Quantity:_________Floor:_____
Comments:___________________________________________________________________________________
C1030 - FITTINGS- USAF ONLY REQUIRES LADDERS
C103090 - Other Interior Specialties (Gen, Other, Unk, Ladder)
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments:___________________________________________________________________________________
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments:___________________________________________________________________________________
See Interior Construction guidance for common partition/fitting/interior door distresses, AFCEC recommended correlating DCRs , and creating Section Names
COMMENTS

## ROOFS
VERTICAL SHOP BUILDER INPUT SHEET - ROOF CONSTRUCTION
FACILITY TITLE: _______________________________________
FACILITY #: |  |  |  |  | ASSESSOR: |  |  | ASSESSED GRADE
EXTERIOR AREA | [6 empty] | GRN +0- | AMB +0- | RED +0-
B3010 - ROOF COVERINGS
B301001 -Steep Slope Roof Systems (Gen, Other, Unk, Asbestos Cement Shingles, Asphalt Shingles, Clay Tile, Concrete Shingles, Concrete Tile, Fiberglass Shingles, Formed Metal, Metal Standing Seam, Metal Shingles, Preformed Metal, Shingle and Tile, Slate Shingles, Wood Shakes, Wood Shingles)
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments(Fiberglass?, Painted?, Insulation?):__________________________________________________
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments(Fiberglass?, Painted?, Insulation?):__________________________________________________
B301002 - Low Slope Roof Systems (Gen, Other, Unk, built-up, Liquid Elastomers, Modified Bitumen, Polyurethane Foam, Single Ply Membrane)
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments (Color?, Glued Seams?, Plate/Pin Fasteners?, Ballast/Ballast Type?, Thermoplastic?, Sheets/Sheet Type?, Asphalt?, Tar and Gravel?, Surface Cap?):
___________________________________________________________________________________________
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments (Color?, Glued Seams?, Insulation?, Plate/Pin Fasteners?, Ballast/Ballast Type?, Thermoplastic?, Sheets/Sheet Type?, Asphalt?, Tar and Gravel?, Surface Cap?):
___________________________________________________________________________________________
B301003 - Roof Insulation and Fill (Gen, Other, Unk, Cellular Fill, Fiberglass Batts, Gypsum Fill, Lightweight Concrete Fill, Perlite Fill, Rigid: Cork, Expanded Polystyrene, Extruded Polystyrene, Foamed In-place/PUF, Foam glass, Glass Fiber, Multiple Types, Perlite, Phenolic, Polyisocyanurate, Polyurethane Board, Unk, wood Fiberboard, Vermiculite Fill)
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments:_________________________________________________________________________________
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments:_________________________________________________________________________________
B301005 - Gutter & Downspouts (Gen, Other, Unk, Downspouts)
Type: ____________________Year Built/Renewed: ___________Size (LF):_____________________
Comments:_________________________________________________________________________________
Type: ____________________Year Built/Renewed: ___________Size (LF):_____________________
Comments (Copper?):________________________________________________________________________
B301006 - Roof Openings and Supports (Gen, Other, Unk, Gravity Ventilator: 12" Diameter, 12"x12", 12"x24",12"x36", 18" Diameter, 20"x72", 24" Diameter, 24"x72", 30" Diameter, 36" Diameter, 42" Diameter, 48"x60", 48"x72", 6" Diameter, 60"x72", 72"x72", Hatches, Skylights)
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Count (EA):__________________________
Comments:_________________________________________________________________________________
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Count (EA):__________________________
Comments:_________________________________________________________________________________
B301090 - Other Roofing(Gen, Other, Unk, Walkway Protection, Earthen)
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments:_________________________________________________________________________________
Type: ____________________Year Built/Renewed: ___________Size (SF):_____________________
Comments:_________________________________________________________________________________
COMMENTS |  | Okay | Minor | Major |  | Okay | Minor | Major
Does roof leak |  |  |  |  | Fastener Back outs
Stains on underside |  |  |  |  | Bare Spots/Gravel Displaced
Soffit/eave water damage |  |  |  |  | Improperly Installed Equip.
General Appearance |  |  |  |  | Curling/Cracking
Debris/Vegetation
Ponding water | [5 empty] | Yes | No
Physical damage |  |  |  |  | DSW Required
Alterations or Patching |  |  |  |  | WO Required
Blistering
Ridges, Wrinkling, Sagging |  |  |  |  | Notes
Surface Deterioration
Holes
Seam Splits
See Roofing Construction guidance for roofing distresses, AFCEC recommended correlating DCRs , and creating Section Names
COMMENTS

## SVC-PLUMB
MFT-3 BUILDER INPUT SHEET - SERVICES/PLUMBING
FACILITY TITLE: _______________________________________ |  |  |  | WO #:
FACILITY #: |  | FLOOR #: | ASSESSOR: |  |  | ASSESSED GRADE
SERVICES/PLUMBING AREAS |  |  | NOTES |  | GRN +0- | AMB +0- | RED +0-
D2010 - PLUMBING FIXTURES
D201001 - Water closets (Toilets) (Gen, Other, Unk, Stainless)
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Stainless?, Wall Hung, Tankless?, Flush? Auto?):
___________________________________________________________________________________________
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Stainless?, Wall Hung, Tankless?, Flush? Auto?):
___________________________________________________________________________________________
D201002 - Urinals (Gen, Other, Unk, Stainless)
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Countertop/standalone/wall-hung?, Ceramic/Enameled/Cast Iron/ Metal/Plastic?):
___________________________________________________________________________________________
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Countertop/standalone/wall-hung?, Ceramic/Enameled/Cast Iron/ Metal/Plastic?):
___________________________________________________________________________________________
D201003 - Lavatories (Gen, Other, Unk, Stainless, Cultured Marble, Metal Band, Ceramic, Enamel, Acrylic, Metal)
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Countertop/standalone/wall-hung?, Ceramic/Enameled/Cast Iron/ Metal/Plastic?):
___________________________________________________________________________________________
D201004 - Sinks (Gen, Other, Unk, Group Wash, Fountain, Kitchen Sink, Laboratory Sink, Laundry Sink, Service Sink, Stainless, Ceramic, Enameled Cast Iron, Metal, Plastic)
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Countertop/standalone/wall-hung/floor hung?, Ceramic/Enameled/Cast Iron/ Metal/Plastic?, Single/Double Bowl? If group sink: Stainless, concrete, or fiberglass?):
___________________________________________________________________________________________
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Countertop/standalone/wall-hung/floor hung?, Ceramic/Enameled/Cast Iron/ Metal/Plastic?, Single/Double Bowl? If group sink: Stainless, concrete, or fiberglass?):
D201005 - Shower/Tubs (Gen, Other, Unk, Bathtub, Combo Unit Shower/Tub, Shower)
Type: __________Quantity (heads/shower+showers):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Comments (Single/Double heads, shower enclosure material, If gang shower, column type?, Ceramic Tile/CMU Walls?):
___________________________________________________________________________________________
Type: __________Quantity (heads/shower+showers):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Comments (Single/Double heads, shower enclosure material, If gang shower, column type?, Ceramic Tile/CMU Walls?):
___________________________________________________________________________________________
D201006 - Drinking Fountains and Coolers (Gen, Other, Unk, Drinking, Fountain, Water Cooler)
Type: __________Quantity (EA, doubles=2):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:________________________Refrig:________________Amps:_____________Volts:________________
KRSM:_______________________________________________
Comments (Single/Double, Freestanding/Wall Hung?, Ceramic/Metal?):
___________________________________________________________________________________________
Type: __________Quantity (EA, doubles=2):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:________________________Refrig:________________Amps:_____________Volts:________________
KRSM:_______________________________________________
Comments (Single/Double, Freestanding/Wall Hung?, Ceramic/Metal?):
___________________________________________________________________________________________
Type: __________Quantity (EA, doubles=2):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:________________________Refrig:________________Amps:_____________Volts:________________
KRSM:_______________________________________________
Comments (Single/Double, Freestanding/Wall Hung?, Ceramic/Metal?):
___________________________________________________________________________________________
D201007- Bidets (Gen, Other, Unk,)
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Floor:_____________Location:________________________________________________________
Comments (Stainless?, Wall Hung, Tankless?, Flush? Auto?):
___________________________________________________________________________________________
D201090 - Other Plumbing Fixtures (Gen, Other, Unk, Emergency Eye Wash, Emergency Shower, Stainless Steel Combo Unit (WC/Sink), Sump, Washer/Dryer Hookup)
Type: __________Quantity (combo unit=separate items):_______________Year Install/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:___________________________________KRSM:_______________________________________
Comments (Provide mixing valve, check for proper drainage):
___________________________________________________________________________________________
Type: __________Quantity (combo unit=separate items):_______________Year Install/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:___________________________________KRSM:_______________________________________
Comments (Provide mixing valve, check for proper drainage):
___________________________________________________________________________________________
D2020 - DOMESTIC WATER DISTRIBUTION
D202001 - Pipes & Fittings (Gen, Other, Unk, Black/Galvanized Steel (specify inches), copper (specify inches), CPVC (specify inches), Ductile Iron (specify inches), HDPE, PVC (specify inches))
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Threaded?, Valves?, Painted, Soldered?):
___________________________________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Threaded?, Valves?, Painted, Soldered?):
___________________________________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Threaded?, Valves?, Painted, Soldered?):
___________________________________________________________________________________________
D202002 - Valves & Hydrants (Gen, Other, Unk, Backflow Preventer (pipe size), Hose Bib)
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Size:______________Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity (EA):_______________Year Installed/Replaced:_____________
Size:______________Location:________________________________________________________
Comments:_________________________________________________________________________________
D202003 - Domestic Water Equipment (Gen, Other, Unk, Booster Pump (specify HP, variable speed, discharge, GPM), Heat Transfer Pkg. (specify one/two pump sys, GPM), Storage Tank (gallons, diameter, LOA, material/lining), Water Heaters (commercial/residential, electric/gas, gallons/oil, KW, GPH, MBH input), Water Softener, Water Treatment (Chemical Treatment, Deionization Station, UV Treatment, Wash rack Filtration))
`
Type:_______________________________________________________________________________________
Quantity: _______________________Year Installed/Replaced:____________________
Size:______________Location:________________________________________________________
Comments (Mounting?, gas/electric fired?, high/low capacity units?, vertical tank?, circulating pump?, rubber bladder?):
___________________________________________________________________________________________
D202004 - Insulation & Identification (Gen, Other, Unk)
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D202090 - Other Domestic Water Supply (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D2030 - SANITARY WASTE- Inventory is OPTIONAL
D203001 - Waste Pipe & Fittings (Gen, Other, Unk)
Type: _____________Quantity(LF/EA):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Type of piping, type of fitting (ex hub, ball and spigot)):
___________________________________________________________________________________________
Type: _____________Quantity(LF/EA):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Type of piping, type of fitting (ex hub, ball and spigot)):
___________________________________________________________________________________________
D203002 - Vent Pipe & Fittings (Gen, Other, Unk)
Type: _____________Quantity(LF/EA):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Type of piping, type of fitting (ex hub, ball and spigot)):
___________________________________________________________________________________________
Type: _____________Quantity(LF/EA):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Type of piping, type of fitting (ex hub, ball and spigot)):
___________________________________________________________________________________________
D203003 - Floor Drains (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D203004 - Sanitary and Vent Equipment (Gen, Other, Unk, Backflow Preventer (pipe size), Sanitary Waste Separator (size))
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D203005 - Insulation & Identification (Gen, Other, Unk)
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D203090 - Other Sanitary Waste (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D2040 - RAIN WATER DRAINAGE
D204001 - Pipe & Fittings (Gen, Other, Unk)
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Cast Iron Bell and Spigot VS Hub Band, material?):
___________________________________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Cast Iron Bell and Spigot VS Hub Band, material?):
___________________________________________________________________________________________
D204002 - Roof Drains (Gen, Other, Unk)
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (material?):_______________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (material?):_______________________________________________________________________
D204003 - Rainwater Drainage Equipment (Gen, Other, Unk, Sump Pump (Duplex/Submersible))
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Pump HP):_______________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments (Pump HP):_______________________________________________________________________
D204004 - Insulation & Identification (Gen, Other, Unk)
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity (LF):_______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D204090 - Other Rain Water Drainage System (Gen, Other, Unk, Acid Waste Systems)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D209001 - Special Piping System (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D209003 - Interceptors (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D209004 - Pool Piping and Equipment (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D209005 - Compressed Air System (Non-Breathing) (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
D209090 - Other Special Plumbing Systems (Gen, Other, Unk)
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
Type: _____________Quantity: _______________Year Installed/Replaced:_____________
Location:________________________________________________________
Comments:_________________________________________________________________________________
See Plumbing guidance for common plumbing damages/distresses, AFCEC recommended correlating DCRs , and creating Section Names
COMMENTS

## HVAC
MFT-3 BUILDER INPUT SHEET - HVAC
FACILITY TITLE: _______________________________________ |  |  |  | WO #:
FACILITY #: |  | FLOOR #: | ASSESSOR: |  |  | ASSESSED GRADE
HVAC AREA |  |  | NOTES |  | GRN +0- | AMB +0- | RED +0-
D3010 ENERGY SUPPLY - OPTIONAL
D301001 - Oil Supply System (Gen, Other, Unk) - Do not inventory if provided by vendor/under lease
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
D301002 - Gas Supply System (Gen, Other, Unk, Fuel Storage Tank, gas meter)- Do not inventory if provided by vendor/under lease
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
D301090 - Other Energy Supply (Gen, Other, Unk, Ice Bank, Thermal Storage Tank)
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
D3020 - HEAT GENERATING SYSTEMS
D302001 - Boilers (Gen, Other, Unk, Electric Hot Water, Gas Pulse, Electric Steam, Gas Hot Water, Gas Steam, Gas Water Tube, Gas/Oil Fire Tube, Gas/Oil Hot Water)
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
KW/MBH Ranges:_____________________________
Fuel Type:_____________________________
D302002 - Furnaces (Gen, Other, Unk, Electric, Gas)
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
KW/MBH Ranges:_____________________________
Fuel Type:_____________________________
D302003 - Fuel Fired Unit Heaters
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
KW/MBH Ranges:_____________________________
Fuel Type:_____________________________
Free Standing or Ceiling Hung?:_________________
D302004 - Auxiliary Equipment (Boiler/Chemical Feed water) - OPTIONAL
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
D3030 - COOLING GENERATING SYSTEMS
D303001 - Chilled Water Systems (Chiller, Absorption, Gas, Steam, Centrifugal, Reciprocating, Rotary Screw, Scroll)
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
Tonnage:_________________ Water/Air Cooled?:____________
Cooling Tower Material (Fiberglass, Galvanized, Stainless Steel):
_____________________________
D303002 - Direct Expansion Systems (Gen, Other, Unk, Condenser, DX, Air Cooled - Belt Drive, Rooftop AC unit) - Ignore Refrigerant Type In BUILDER
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
Tonnage:_________________ Water/Air Cooled?:____________
D303090 - Other Cooling Generating Systems (Gen, Other, Unk,
Refrigeration Compressor)
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
Size:____________(Specify tank size)
Tonnage:_________________ Water/Air Cooled?:____________
D3040 - DISTRIBUTION SYSTEMS - Piping and Ductwork are OPTIONAL
D304001 - Air Distribution, Heating & Cooling (Gen, Other, Unk, Air Separator, Fire Dampers, Smoke Vents, VAV Terminal)
Component:_________________ ID # (Tag):_________________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Control Type/Make:_____________________________
VAV Type:________________________
CFM: ________________Fan Powered?:________________
D304002 - Steam Distribution (Gen, Other, Unk)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Size:____________(Specify tank size)
HP:_______________GPM:________________
D304003 - Hot Water Distribution (Circulating Pump, End/Double Suction, Heat Exchanger- Plate Type, Shell and Tube)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Size:____________(MBH/tank size)
HP:_______________GPM:________________
Additional Plates?:_______________________
D304005 - Glycol Distribution Systems (Gen, Other, Unk)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Size:____________(MBH)
HP:_______________GPM:________________
Additional Plates?:_______________________
D304006 - Chilled Water Distribution Systems (Circulating Pump, End/Double Suction)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Size:____________(tonnage)
HP:_______________GPM:________________
Additional Pump/Motor Data:__________________________
D304007 - Exhaust Systems
Fan Systems:
____________TYPE __________CFM _______QTY
____________TYPE __________CFM _______QTY
Hoods:
____________TYPE __________SZ _______QTY
____________TYPE __________SZ _______QTY
D304008 - Air Handling Units (Gen, Other, Unk, central station, field fabricated, modular station, rooftop)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
CFM:____________
D3050 - TERMINAL & PACKAGE UNITS
D305001 - Unit Ventilators (Gen, Other, Unk, air curtain, fan system,
axial, centrifugal in-line, utility set, make-up air unit,
controls)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
CFM:____________MBH:______________
D305002 - Unit Heaters (Gen, Other, Unk, Hydronic, Steam, infrared)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
KW:____________BTU:____________MBH:____________
D305003 - Fan Coil Units (cab mount, 2/4 pipe)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Cab/Duct/DX Mounted?:__________________
Electric Heat Y/N?:____________________
4 or 4 Pipe Tonnage?:___________________
Tonnage:______________________
D305004 - Fin Tube Radiation (Baseboard Heating)- Data plates usually unavailable, can be grouped under 1 section w/or w/o details
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
D305005 - Electric Heating
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
KW: ____________Voltage:________________
D305006 - Package Units (AC Unit, Computer Room, Air Cooled
A/C Unit, Split Systems w/Air Cooled Condenser, Evaporative
Cooler/Swamp Cooler, A/C Unit, Thru-Wall, Heat Pump, Water
Source, Air Source, Roof Top, Central Station)
If A/C Unit/Comp Room: Air Cooled, Chilled Water, or Glycol?
Tonnage:_________CFM:__________BTUH:__________
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
D3060 - ELECTRONIC CONTROLS
D306001 - HVAC Controls (Gen, Other, Unk)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Connected to EMCS (Y/N):__________
D306002 - Electronic Controls (Gen, Other, Unk, analog inputs, sensors,
duct humidity/static pressure/temperature/space, steam flow,
water flow/pressure, control devices, functions boards, duct
smoke detector, fire, freeze, start/stop)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Connected to EMCS (Y/N):__________
D306003 - Pneumatic Controls (Gen, Other, Unk, air supply, tank mount
duplex compressor, starter, alternator, boiler room combustion
air, controls, fan coil, heating & ventilating, split system, cooling
coil, chilled water, cooling tower, fan cycle, enthalpy cycle, damper
motor, thermostat, etc.)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Connected to EMCS (Y/N):__________
D306004 - Instrument Air Compressors (Gen, Other, Unk)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
Connected to EMCS (Y/N):__________
D3090 - OTHER HVAC SYSTEMS AND EQUIPMENT- OPTIONAL for USAF
D309001 - General Construction Items (Gen, Other, Unk)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
D309002 - Refrigeration Systems (Gen, Other, Unk)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
D309090 - Other Special Mechanical Systems (Gen, Other, Unk)
Section Description:_____________________________
Serial #:_________________ Make:_________________
Install Year:_________________ Capacity:_________________
Location:_____________________________
Warranty Date:__________ Warranty Co:_________________
Date Manufactured:_________ Manufacturer:_______________
See HVAC guidance for common equipment distresses and AFCEC recommended correlating DCRs
COMMENTS

## FIRE
MFT-3 BUILDER INPUT SHEET - FIRE PROTECTION
FACILITY TITLE: _______________________________________ |  |  |  | WO #:
FACILITY #: |  | FLOOR #: | ASSESSOR: |  |  | ASSESSED GRADE
HVAC AREA |  |  | NOTES |  | GRN +0- | AMB +0- | RED +0-
D4010 - FIRE ALARM AND DETECTION SYSTEMS
D401001 - Fire Alarm Distribution (Gen, Other, Unk, Fire Alarm Control Panel, single/multizones, fire detection systems, detectors, non-addressable/addressable, combination?, mass notification?)
Type:_______________________________________________________________________________________________________
Quantity (EA):_______________Year Installed/Replaced:_____________ Location:_________________________________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Manufacturer Date:______________________________ Manufacturer:________________________________________
KRSM:________________________________________________________
Comments (Class B Wiring?):
___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (EA):_______________Year Installed/Replaced:_____________ Location:_________________________________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Manufacturer Date:______________________________ Manufacturer:________________________________________
KRSM:________________________________________________________
Comments (Class B Wiring?):
___________________________________________________________________________________________
D401002 - Fire Alarm Devices (Gen, Other, Unk, annunciator, battery stand-by power, signal devices, detectors, electric mechanical release, manual pull station, strobe, brackets)
Type:_______________________________________________________________________________________________________
Quantity (total/section):_______________Year Installed/Replaced:_____________
Location:________________________________________
Comments (Missing Alarms):_______________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (total/section):_______________Year Installed/Replaced:_____________
Location:________________________________________
Comments (Missing Alarms):_______________________________________________________________________________
D4020 - FIRE SUPP WATER SUPPLY/EQUIP
D402001 - Fire Protection Water Piping and Equipment (Gen, Other, Unk, air compressor, air dryer, backflow preventer, size)
Type:_______________________________________________________________________________________________________
Quantity (total/section):_______________Year Installed/Replaced:_____________ Size:____________________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Location:________________________________________ Manufacturer:________________________________________
Manufacturer Date:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (total/section):_______________Year Installed/Replaced:_____________ Size:____________________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Location:________________________________________ Manufacturer:________________________________________
Manufacturer Date:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
D402002 - Fire Pump (Gen, Other, Unk, pump size, HP, GPM, test headers, flow meters, recirculation sys, surge arrestors)
Type:_______________________________________________________________________________________________________
Quantity (EA):_______________Year Installed/Replaced:_____________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Location:________________________________________ Manufacturer:________________________________________
Manufacturer Date:______________________________ KRSM:__________________________________
Pump Information (size/GPM/HP/RPM/PSI):_____________________________________________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (EA):_______________Year Installed/Replaced:_____________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Location:________________________________________ Manufacturer:________________________________________
Manufacturer Date:______________________________ KRSM:__________________________________
Pump Information (size/GPM/HP/RPM/PSI):_____________________________________________________________________
Comments:___________________________________________________________________________________________
D4030- STANDPIPE SYSTEMS
D402001 - Fire Protection Water Piping and Equipment (Gen, Other, Unk, fire hose equip, diesel/electrical, controller, pump size/GPM/HP/psi/RPM, fittings?, relief valve?, riser/riser diameter)
Type:_______________________________________________________________________________________________________
Quantity (EA):_______________Year Installed/Replaced:_____________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Location:________________________________________ Manufacturer:________________________________________
Manufacturer Date:______________________________ KRSM:__________________________________
Pump Information (size/GPM/HP/RPM/PSI):_____________________________________________________________________
Riser Info (Services?, Main Supply Size, System Size, Supply Pressure, System Type, Temp)
_______________________________________________________________________________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (EA):_______________Year Installed/Replaced:_____________
ID # (Tag):________________________Serial #:________________________________ Make:_______________________________
Model:__________________________ Capacity (Zones):__________________________________
Location:________________________________________ Manufacturer:________________________________________
Manufacturer Date:______________________________ KRSM:__________________________________
Pump Information (size/GPM/HP/RPM/PSI):_____________________________________________________________________
Riser Info (Services?, Main Supply Size, System Size, Supply Pressure, System Type, Temp)
_______________________________________________________________________________________________________
Comments:___________________________________________________________________________________________
D4040- SPRINKLERS
D404001 - Sprinklers and Releasing Devices (Systems) (Gen, Other, Unk, Deluge, Dry Pipe, Fire cycle Systems, Preaction Systems, Wet Pipe, Specify Extra/Light/Ordinary Hazard)
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments (Missing Sprinkler Coverage, Non- Interlock, Single Interlock, Double Interlock, # wet/dry risers per mechanical room):
_______________________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments (Missing Sprinkler Coverage, Non- Interlock, Single Interlock, Double Interlock, # wet/dry risers per mechanical room):
_______________________________________________________________________________________________________
D404002 - Sprinkler Water Supply Equipment and Piping
Type:_______________________________________________________________________________________________________
Quantity: _______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity: _______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
D4090 - OTHER FIRE PROTECTION SYSTEMS
D409001 - Carbon Dioxide Systems (Gen, Other, Unk)
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity: _______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
D409002 - Foam Generating Equipment
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
D409003 - Clean Agent Systems
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
D409090 - Other Special Fire Protection Systems (Gen, Other, Unk)
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
Type:_______________________________________________________________________________________________________
Quantity (SF):_______________Year Installed/Replaced:_____________
Location:______________________________ KRSM:__________________________________
Comments:___________________________________________________________________________________________
See Fire Suppression guidance for common equipment distresses, AFCEC recommended correlating DCRs , and creating Section Names
COMMENTS

## ELEC
MFT-3 BUILDER INPUT SHEET - ELECTRICAL
FACILITY TITLE: _______________________________________ |  |  |  | WO #:
FACILITY #: |  | FLOOR #: | ASSESSOR: |  |  | ASSESSED GRADE
ELECTRICAL AREA |  |  |  |  | GRN +0- | AMB +0- | RED +0-
D5010 - ELECTRICAL SERVICE & DISTRIBUTION
D5010001- Main Transformers (Gen, Other, Unk)
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
KVA:__________________________KRSM:_______________________________________________
Comments (must include transformer name and description in section name):
___________________________________________________________________________________________
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
KVA:__________________________KRSM:_______________________________________________
Comments (must include transformer name and description in section name):
___________________________________________________________________________________________
D5010002- Service Entrance Equipment (Gen, Other, Unk, single/three Phase, Voltage, Amperage)
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________Quantity (EA):______________
KVA:__________________________KRSM:_______________________________________________
Comments:
___________________________________________________________________________________________
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________Quantity (EA):______________
KVA:__________________________KRSM:_______________________________________________
Comments:
___________________________________________________________________________________________
D5010003- Interior Distribution Transformers (Gen, Other, Unk, drytype?, buck-boost?, isolation?, liquid/oil filled, Primary/secondary Voltage, KVA, k-13/k-4 rated, non-ventilated)
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
KVA:__________________________KRSM:_______________________________________________
Comments (must include transformer name and description in section name):
___________________________________________________________________________________________
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
KVA:__________________________KRSM:_______________________________________________
Comments (must include transformer name and description in section name):
___________________________________________________________________________________________
D5010004- Panelboards (Gen, Other, Unk, Main Lugs, Switch (Safety, Transfer, Switchgear, Automatic/Non-automatic), Voltage, Amperage, NQOD/NEMA/NEHB, Electric vs Manual)
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
Switching Info:_______________________________________
Main Lugs:__________________________KRSM:_______________________________________________
Comments:
___________________________________________________________________________________________
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
Switching Info:_______________________________________
Main Lugs:__________________________KRSM:_______________________________________________
Comments:
___________________________________________________________________________________________
D501005 - Enclosed Circuit Breakers (Gen, Other, Unk, main, voltage, amp, NQOD, NEHB)
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
KRSM:_______________________________________________
Comments:
___________________________________________________________________________________________
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________Amps:_____________Volts:________________
KRSM:_______________________________________________
Comments:
___________________________________________________________________________________________
D501006 - Motor Control Centers (Gen, Other, Unk, Motor Control Center (Size 1,2,3), HP, Height)
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________HP:______________KRSM:__________________________________________
Comments:
___________________________________________________________________________________________
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________HP:______________KRSM:__________________________________________
Comments:
___________________________________________________________________________________________
D5020 - LIGHTING & BRANCH WIRING
D502001 -Branch Wiring (Gen, Other, Unk)
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments (Junction Box cover?):_______________________________________________________________
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments (Junction Box cover?):_______________________________________________________________
D502002 - Lighting Equipment (Gen, Other, Unk, exit lighting, explosion-proof lighting, fluorescent, ceiling mount, wattage, tube length, 2/3/4 tube, incandescent, HPS, LPS, wall mount, T5/T8/T12, interior, exterior, quartz, pendent mount, metal halide, recessed, flood lamp, louver, reflector, glass, LED)
Type: _____________________________Quantity (EA):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Wattage:_________________T5/T8/T12:______________________Tube Length:___________________
# Lamps/fixture:______________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Comments:_________________________________________________________________________________________
Type: _____________________________Quantity (EA):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Wattage:_________________T5/T8/T12:______________________Tube Length:___________________
# Lamps/fixture:______________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Comments:_________________________________________________________________________________________
Type: _____________________________Quantity (EA):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Wattage:_________________T5/T8/T12:______________________Tube Length:___________________
# Lamps/fixture:______________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Comments:_________________________________________________________________________________________
Type: _____________________________Quantity (EA):_______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Wattage:_________________T5/T8/T12:______________________Tube Length:___________________
# Lamps/fixture:______________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Comments:_________________________________________________________________________________________
D5030 - COMMUNICATIONS & SECURITY - OPTIONAL
D503005 - Security Systems (Gen, Other, Unk)
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments:___________________________________________________________________________________
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments:___________________________________________________________________________________
D5090 - OTHER ELECTRICAL SERVICES
D509001 - General Construction Items (Electrical) (Gen, Other, Unk)
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments:___________________________________________________________________________________
Type: ________Year Built/Renewed: ___________Location: ____________Quantity (LF):_________Floor:_____
Comments:___________________________________________________________________________________
D509002 - Emergency Lighting & Power (Gen, Other, Unk, emergency lighting, lead battery, twin-sealed beam light, nickel cadmium battery, self-contained, fluorescent lamp pack, generators, diesel, gas, kw, uninterruptible power supply, kiva)
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________KRSM:_______________________________________________
Generator Fuel Type: ____________________________KW:____________________
Emergency Lighting Type (Battery/Fixture Type):_______________________________________
KVA if Uninterruptible Power Supply:___________________________________________
Comments:_________________________________________________________________________________________
Type: _____________________________Size: _______________Year Installed/Replaced:_________
Floor:_____________Location:________________________________________________________
Mfg.:_________________________Mfg. Date: _____________Model#:__________________________________
Serial#:_________________________KRSM:_______________________________________________
Generator Fuel :____________________
Emergency Lighting Type (Battery/Fixture Type):_______________________________________
KVA if Uninterruptible Power Supply:___________________________________________
Comments:_________________________________________________________________________________________
See Electrical guidance for common D50 damages/distresses, AFCEC recommended correlating DCRs , manufacturer dates for commonly found electrical items, and creating Section Names
COMMENTS

## EQUIP LIST
MFT-3 BUILDER INPUT SHEET - EQUIPMENT DETAILS
FACILITY TITLE: _______________________________________ |  |  |  |  | WO #: 15017
FACILITY #: |  |  | FLOOR #: | ASSESSOR: |  |  | ASSESSED GRADE
EQUIPMENT DETAILS | [5 empty] | GRN +0- | AMB +0- | RED +0-
ITEM | ID# | MFR | MOD# | SERIAL # | LOC/RM
COMMENTS
COMMENTS